## Slide 1
Sanitation Engineering in the North
Past Solutions and Considerations
John A. Warren, P.E.
Co-sponsored workshop by:
US Arctic Research Commission and Centers for Disease Control and Prevention

## Slide 2
Sanitation Engineering in the North
Presentation Overview
Water Source
  Groundwater
  Surface Water
  Groundwater Under the Direct Influence of Surface Water (GUDISW)
Water Treatment
  Organics
  Inorganics
  Microorganisms
Water Distribution
  Piped Systems
  Haul Systems

## Slide 3
Sanitation Engineering in the North
Presentation Overview
Wastewater Collection
  Gravity Systems
  Vacuum Systems
  Low Pressure Systems
  Haul Systems
Wastewater Treatment
  Lagoons
  Septic Tanks
  Advanced Treatment
Wastewater Disposal
  Liquids
  Solids

## Slide 4
Groundwater
  Wells
GUDISW
  Wells
  Infiltration Galleries
Surface Water
  Impoundments
  Diversion Structures
Water Source

## Slide 5
Groundwater
  Inorganics & Complexed Organics
GUDISW
  Inorganics & Complexed Organics
  Microorganisms
Surface Water
  Inorganics
  Organics & Complexed Organics
  Microorganisms
Regulatory Requirements
Water Treatment

## Slide 6
Streaming Current Detectors
Online Monitoring
Drives
Water Treatment

## Slide 7
Exterior Insulated Tanks
Interior Tanks in Buildings
Water Storage

## Slide 8
Piped Distribution
  Buried
  Above Ground
  Utilidor
Water Distribution

## Slide 9
Haul
  Community
  Individual
Water Distribution

## Slide 10
High Efficiency Heating Systems
Boiler Controls
Drives (motor controls)
Integrating Online Monitoring
Water Distribution

## Slide 11
Piped Collection
  Gravity
  Vacuum
  Low Pressure
Wastewater Collection

## Slide 12
Haul
  Individual
  Community
Wastewater Collection

## Slide 13
Natural Systems
  Facultative Lagoons
  Septic Tanks
Advanced Treatment
  Aerated Ponds
  Suspended or Attached Growth
Regulatory Requirements
Wastewater Treatment

## Slide 14
Liquids
  Percolation
  Surface Discharge
Solids
  Landfill
Wastewater Disposal

## Slide 15
Piped Systems
  Well Refined
  Expensive to Construct
  Lower Operational Cost
  Benefit from Economy of Scale
Haul Systems
  Not Well Refined
  Inexpensive to Construct
  Higher Operational Cost
Opportunities

## Slide 16
QUESTIONS?