## Slide 1: Project Training and Support

## Slide 2: ANTHC DEHE (Tribal Utility Support)
Project related training/support
Technical assistance to communities
Formal operator training
Plan review
Engineers
  Three Each
Operation Specialists
  Three Each
Technical Writer

## Slide 3: Smooth Transition to Community Ownership
Project plan for operator training
Comprehensive operator training
Community specific manuals and operation aids
Coordination with State RMW Program
Follow up training and support

## Slide 4: Notice to Proceed
Operator training needs and operator training plan
Project/Superintendent training role
Certification requirements
Project budget

## Slide 5: Operator Training
On the job training
Start-up/commission
Transition period
Performance period
Manual and Operation Aid Focused
RMW coordination

## Slide 6: Operator Training
Water treatment and water systems
Wastewater collection and disposal systems
Boilers and hydronic systems
Heating Systems
Regulations
Electrical and controls
Generators
Community meetings

## Slide 7: Operator Training
Performance based training
Community verification
Trainer check

## Slide 8: Manuals/Operation Aids
Manuals tailored to individual systems
Daily, weekly, monthly and annual checklists.
P.M. Plan
Equipment literature

## Slide 9: Manual/Operation Aids
Wall charts
Extensive labeling

## Slide 10: Training Challenges

## Slide 11: Operator Turnover
Low pay and high expectations
Talented move on to better paying jobs
Retraining is required/Resources strained

## Slide 12: Increased Complexity
Basic level of training
Advanced water treatment
Automation and controls
Regulations

## Slide 13: Refine Operation
Improve basic operation past a basic level
Operating temperatures
Data and experience driven

## Slide 14: Certification vs Operation ?
ADEC Certifications
Book Based knowledge vs ability to perform task.
Test to measure out come vs competence running system.